## Table 1
Paper ID / Title / Authors | Core Paradigm | Base Model / Backbone | Key Technical Novelty | Training / Optimization Protocol | Data Strategy & Volume | Primary Benchmark Metrics | Operational Metrics | Ablation Proof | Hardware & Framework Stack | Core Limitation / Failure Mode | Competition Edge Factor | Source
Classification of 12-lead ECGs: the PhysioNet/CiC 2020; Perez Alday et al. | Meta-analysis / Hybrid ML | Various (CNNs dominant; RF/MLR baselines) | Novel clinical reward matrix $W$ awarding partial credit for similar misdiagnoses; Mandated open-source training code for scientific validity. | Median training: 6h 49m; 72h limit; Docker containerization; Support for Python/MATLAB. | 66,361 recordings (43,101 public); 111 classes (27 scored); Multi-institutional (6 systems). | Max Score: 1.0; Inactive Score: 0.0; Top participant $S_{normalized}$ : 0.533. | 8 vCPUs, 64 GB RAM, NVIDIA T4; Inference: 2 vCPUs, 13 GB RAM. | 50% average score drop from validation to hidden test set proved high risk of over-training on single-source data. | Google Cloud; NVIDIA T4; PyTorch; TensorFlow; MATLAB. | Sensitivity to sampling frequency; Performance drop (10%+) on hidden data; Class imbalance. | Established first repeatable body of ECG research by mandating full training framework reproducibility. | 1, 2
CinC2020-189; ECG Abnormalities Recognition...; Vicar et al. | Deep Learning (CNN) | Modified 1D-ResNet (6 blocks) | Binary Units Training Technique (BUTT); Global skip connections from input to deep layers; Custom differentiable Challenge Metric (CM) loss. | Adam; Two-cycle LR schedule ( $10^{-3}$ ); CM Loss; Stochastic Weight Averaging (SWA); Bayesian threshold optimization. | 43,101 recordings; 125 Hz resampling; $\pm 10\%$ temporal stretch & $\pm 20\%$ voltage amplification ( $p=0.8$ ). | Validation CM: 0.696; Full Test CM: 0.202; Dice Coefficient: 0.571. | Batch size: 32; Ensemble of 3 models; Real-time inference capability. | CM Loss increased DC by 0.02; Augmentation increased DC by 0.01; Wide filter variants ( $n=48$ ) outperformed deeper models. | Python; Bayesian Optimization library; Not in source. | Poor generalization to different data sources; High performance drop on low-frequency classes (PVC, PAC, Brady). | Achieved 1st place in validation by aligning the loss function directly with the competition's scoring metric. | 3
CinC2020-281; Classification of Cardiac Abnormalities...; Zhu et al. | Hybrid DL and Rule-based | SE-ResNet (Squeeze-and-Excitation) | Multi-label Sign Loss to weight mis-classified labels; 10s/30s segment ensemble; Rule-based bradycardia correction. | Adam ( $LR=10^{-3} \rightarrow 10^{-4}$ ); 19 epochs; Threshold: 0.36; Wavelet denoising (biorthogonal). | 43,101 signals; CPSC relabeling; Hefei external validation set (6,500 records). | Validation: 0.682; Full Test: 0.514; Offline 20% test: 0.683. | 10s and 30s segment inference; 117 GB RAM footprint; 1x NVIDIA V100. | Ensemble of 10s/30s models (+0.006); Adding rule-based module (+0.003 gain). | PyTorch; NVIDIA V100 GPU; 117 GB RAM; 4-core CPU. | Rule-based module had low precision due to sub-optimal labels; U-Net segmentation failed to improve scores. | Ranked 3rd overall by combining dual-segment deep learning with clinical domain knowledge and custom loss. | 4
CinC2020-445; Adversarial Multi-Source Domain Generalization; Hasani et al. | Hybrid CNN-LSTM | Parallel CNN (Fine/Coarse Kernels) + Bi-LSTM | Adversarial Domain Generalization via Gradient Reversal Layer (GRL); Domain-specific masks to prevent out-of-domain punishment. | Weighted BCE loss based on reward matrix; Gradient Reversal for domain classifier; 5-fold CV; Grid search for thresholds. | 43,101 signals (27 scored classes); 250 Hz resampling; Lead dropout/shuffling/inversion augmentations. | Validation: 0.609; Full Test: 0.437; 5-fold CV: 0.629 $\pm$ 0.003; AUROC: 0.64. | Not in source. | Multi-source domain generalization improved score from 0.343 to 0.352; Parallel CNN outperformed single-kernel CNNs. | PyTorch; Cloud-training. | Resource limits prevented use of records with unscored labels; 17% validation-to-test performance gap. | Ranked 5th by specifically addressing data heterogeneity and domain shifts inherent in multi-source clinical data. | 5
CinC2020-328; Bag of Tricks for ECG Classification...; Min et al. | Deep Learning (CNN) | Wide ResNet (WRN-18-2) | Confusion Weighted BCE (CoW-BCE) down-weighting similar-risk misdiagnoses; Manifold Mixup for variable-length hidden representations. | 100 epochs; Adam; $10^{-3}$ LR with warmup/cosine annealing; L2 decay: 0.0005; Batch size 128. | 37,619 recordings; 10-fold CV iterative stratification; 50/60Hz notch filters; 500 Hz resampling. | Challenge Score: 0.695 (CV), 0.420 (Full Test); $F_{2}$ : 0.696; $G_{2}$ : 0.448. | Barely changed computational complexity over standard WRN. | LR scheduler (+0.055), CoW-BCE (+0.028), and Class-specific thresholds (+0.018) provided substantial gains. | PyTorch; NVIDIA V100 GPU; HPC Support (NIPA). | Significant performance variance across databases (DB1: 0.688 vs DB3: 0.228). | Placed 6th by systematically stacking architecture tweaks and a domain-specific loss function tailored to the reward matrix. | 6
CinC2020-253; Pre-trained Exponentially Dilated Causal CNN; Bos et al. | Causal CNN | Custom 1D Dilated Causal CNN (7 blocks) | First use of exponentially dilated causal convolutions for ECG to capture long-range patterns without future-point leakage. | Weighted focal loss ( $\gamma=2$ ); Adam; LR: 0.001; 10-fold iterative stratification; Pre-training followed by fine-tuning. | Pre-trained on 254,044 physician-annotated ECGs (UMCU); Fine-tuned on 42,511 Challenge ECGs. | Challenge Score: 0.417 (Test), 0.565 (CV); AUROC: 0.915 (Test), 0.939 (CV). | Variable input length support; Receptive field: 766ms (383 points at 500 Hz). | Pre-training improved metric from 0.542 to 0.565; identified 5 frozen blocks as optimal for transfer. | PyTorch (1.3); NVIDIA Titan Xp; Python (3.7). | Poor performance on rare classes (T-wave inversion, PVC); utilized only first 10 seconds of data. | Ranked 7th by leveraging a massive (1.2M+) private pre-training dataset to enhance model robustness. | 7
CinC2020-161; Impact of Neural Architecture Design...; Fayyazifar et al. | Hybrid CNN-RNN / NAS | Custom 49-layer RCNN (CNN + Bi-LSTM); DARTS | 16-block ResNet-like 1D CNN with Bi-LSTM (300 units); DARTS search space adapted for 1D ECG waveforms. | RCNN: Adam; LR $10^{-3}$ ; NAS: SGD; Cosine annealing; Early stopping (15 epochs). | 37,619 samples; 10s truncation; Db1 Wavelet decomposition (approximation coefficients) for specific variants. | RCNN: 62.3% (Val), 38.2% (Full Test); NAS: 64.4% (CV - no test score). | RCNN Training: 250 min (1080 Ti); NAS Search: 50 min/epoch (RTX 8000). | Bi-LSTM added 2.7% gain over pure CNN; Wavelet preprocessing added 1% gain; NAS outperformed hand-designed RCNN by 2.5% in CV. | PyTorch; NVIDIA 1080 Ti / RTX 8000. | NAS model failed to receive official scores due to submission issues; High training time for NAS (20 hours). | Achieved 9th place with hand-designed RCNN while proving automated NAS can further boost performance. | 8
CinC2020-171; Cardiac Pathologies Detection and Classification...; Smisek et al. | Rule-based and Decision Trees | Feature-extraction Ensemble | Segment averaging based on QRS clustering; Merged medical-standard definitions (e.g., Strauss for LBBB) with data-driven trees. | 5-fold CV; PQ interval threshold $\ge 205$ ms; HR thresholds (<60 or >100 bpm). | 6 sub-databases; Excluding 4 pathologies with vague definitions (Brady, LQT, QAb, TInv). | Challenge Score: 0.435 (Val), 0.354 (Full Test); AF $F_{1}$ : 0.83; LBBB $F_{1}$ : 0.697. | Not in source. | Excluded 4 pathologies (LQT, QAb, Brady, TInv) that reduced overall performance due to low classification success. | Not in source. | Vague definitions of AFL/NSIVCB led to poor-quality features; Inconsistent bpm thresholds across databases. | High interpretability; Ranked 11th despite avoiding deep learning by using medical-standard definitions. | 9
CinC2020-417; CRNN and LightGBM Ensemble...; Zisou et al. | Ensemble (DL + GBDT) | Hybrid: 1D-CRNN and LightGBM | Class-specific ensemble merging using Genetic Algorithm (GA) to tune weights and thresholds for 24 abnormalities. | SMOTE + under-sampling; LightGBM: Bayesian Optimization; CRNN: Adam; Xavier init; Self-attention. | 24 target classes; 3rd order Butterworth/Notch filtering; 500 Hz resampling; 5-fold iterative stratification. | 5-fold CV: 0.593; Hidden Test: 0.281; Ensemble AUROC: 0.946 (vs CRNN 0.908, LGBM 0.935). | Not in source. | Ensemble (0.593) outperformed individual CRNN (0.511) and LightGBM (0.549); SMOTE+BO improved LGBM AUROC by 0.015. | LightGBM; PyTorch/TensorFlow (implied); Python. | CRNN cannot easily benefit from domain adjustments; Lacks segmentation for locating regions in long recordings. | Ranked 13th by combining automated deep features with expert-engineered features via GA-optimized weighting. | 10
Cardiac Abnormality Detection... Data Augmentation; Weber et al. | Deep Learning (CNN) | Custom ResNet-inspired | Global max-pooling for signal length independence; Removal of intermediate pooling/BatchNorm to handle individual forwarding. | Adam ( $10^{-4}$ ); BCE loss; Batch size 64 (gradient accumulation); ELU activation; Threshold 0.071. | 43,101 signals; Augmentations: Signal Slicing, CutOut (35%), Channel Shifting, Gaussian Noise ( $20 \mu V$ ), Dropout (50%). | Validation: 0.656; Full Test: 0.270; AUROC: 0.947; Challenge Metric: 0.611. | Training: ~12h per model. | Data augmentation improved AUROC (0.943 $\rightarrow$ 0.947) and Challenge Metric (0.602 $\rightarrow$ 0.611); Ensemble improved result to 0.642. | PyTorch; Tesla K40 GPU (AWS). | High discrepancy between validation (0.656) and test (0.270) scores; BatchNorm issues with varying lengths. | Ranked 15th by using global max-pooling for native length independence and a robust suite of 1D augmentations. | 11
Multi-label Arrhythmia Classification...; Hsu et al. | Machine Learning (Ensemble) | Boosting Classifier (Best); RF; AlexNet; LSTM | Cache-inspired 12-lead heartbeat selection (LRU/SSIM rule); Physiology-inspired amplitude and timing maps. | 5-fold CV; Binary classification for 27 classes; Random sampling for class balance. | Georgia, CPSC, PTB-XL; 1-second representative heartbeat segmentation. | Official Score: 0.406; Full Test: 0.244; 5-fold CV: 0.402. | Total Runtime: 1:55:00; Inference adaptable to lengths > 20s. | Proved timing-deviated arrhythmias favor timing features, while waveform arrhythmias favor amplitude maps. | Not in source. | DL models (CNN/RNN) were prone to overfitting; Poor performance on PTB dataset ( $Score: -2.589$ ). | Ranked 16th by using an interpretable, feature-engineered approach that outperformed complex DL architectures in robustness. | 12
CinC2020-225; A Bio-toolkit for Multi-Cardiac Abnormality...; Kirodiwal et al. | Deep Learning (CNN+LSTM) | Custom 1D-CNN (2 layers) + LSTM (2 layers) | Subject-wise averaged cardiac cycle templates extracted from Lead II; Template-swapping normalization. | Adam; LR: 0.005; BCE loss; Batch size 256; 1000 epochs; Class-specific threshold optimizer. | 43,101 recordings; Lead II template extraction (400 samples/cycle); 64/16/20 split. | Validation: 0.337; Test Score: 0.258; Macro AUROC: 0.498. | Low complexity suitable for real-time. | Threshold optimizer improved Challenge metric from 0.314 to 0.337. | Keras; Python. | Poor performance on biased data; Validation and test AUROC remained near chance levels ( $\sim 0.498$ ). | Placed 16th by focusing on high-signal Lead II templates and class-specific threshold optimization. | 13
CinC2020-282; MADNN: A Multi-scale Attention Deep Neural Network; Duan et al. | Deep Learning (CNN) | ResNeXt (1D-modified) stem + 4 Multi-scale modules | Sequential combination of SE (kernel-wise) and SK (branch-wise) attention; Kernel size reduced ( $7 \rightarrow 3$ ) to preserve high-frequency features. | Adam; Focal Loss; Dropout (0.1); LR decay ( $0.5 \times$ ); Early stopping. | 43,134 samples; 500 Hz resampling; 60s padding/truncation; Augmentation: random cropping. | Validation: 0.446; Full Test: 0.236 (Ranked 18th). | Individual MADNN optimized for ECG machine deployment; Low inference speed for ensemble. | Reduced kernel size prevents suppression of high-frequency features; Ensemble increased CV score by 0.6 over standalone model. | Not in source. | High model complexity for ensemble; high-frequency feature suppression if using standard image kernels. | Hybrid combination of SE and SK attention modules enables morphological feature focus across multiple scales. | 14
CinC2020-363; Gradient Boosting on Domain-Specific/Agnostic Features; Uguz et al. | Machine Learning (GBDT) | XGBoost | Beat-to-beat correlation analysis; Pearson correlation between heartbeats and median beat in XYZ leads to isolate 'dissonant' beats. | One-vs-Rest; Binary class weighting; Optimized $\gamma$ , min_child_weight, max_depth; Threshold optimization. | 12-lead ECG; Kors transformation to XYZ leads; Dataset segmentation; 10-fold CV and leave-one-dataset-out. | Validation: 0.576; Full Test: 0.233; AUROC: 0.822; $F_{measure}$ : 0.298. | Total runtime: 101h 28m. | Leave-one-dataset-out strategy proved PTB dataset as a specific performance bottleneck for generalization. | Python; XGBoost; BioSPPy; NeuroKit2. | Limited generalization (negative score on PTB); Independent binary decisions ignore inter-diagnosis dependencies. | Rank 19th by combining domain-specific waveform features with unique beat-to-beat correlation analysis. | 15
CinC2020-138; Automated Classification... Wavelet Analysis; Demonbreun et al. | Deep Learning / Image-based | Modified SqueezeNet (18 layers) | Lead-specific model creation (12 unique models); CWT scalogram conversion; Lead-based voting scheme (4-vote threshold). | Transfer Learning; SGDM; LR: $3 \times 10^{-4}$ ; Mini-batch: 10; 60% dropout in last layers. | Reduced to 76 codes; 10 signals per arrhythmia (balanced strategy); Scalogram conversion. | Validation: 0.214; Full Test: 0.205; Training Accuracy: 83-98%. | Model size < 0.5 MB; Fast training due to SqueezeNet architecture. | Voting scheme (min 4 leads) confirmed to increase diagnosis confidence over single-lead models. | MATLAB R2020a; Deep Learning Toolbox. | Limited training volume (10 signals per class) due to compute power; Low clinical viability at current accuracy. | Placed 20th by utilizing a lightweight, memory-efficient ensemble of lead-specific image classifiers. | 16
CinC2020-198; ECG Classification With a CRNN; Sigurthorsdottir et al. | Deep Learning (CRNN) | 15-layer CNN + Bi-GRU | sliding window feature extraction combined with Bi-GRU temporal aggregation and attention; Test Time Augmentation (TTA). | Nadam ( $10^{-4}$ ); BCE loss; 350 epochs; Dropout: 0.1 (conv), 0.7 (recurrent); Threshold optimization (0.3). | 80/20 split; 257 Hz resampling; High-pass filter (0.5 Hz); Random offset augmentation. | Validation Score: 0.511; Full Test: 0.167; Local Validation (optimized): 0.573. | Batch size: 8 (hardware limited); Resampling to 257 Hz. | Skip connections (+0.1); TTA (+0.0002 to 0.02); Threshold optimization (+0.2 validation score). | TensorFlow 2.2.0. | Hardware limited model depth; Significant performance drop (0.511 to 0.167); Class imbalance remained unresolved. | Ranked 24th; Highly sensitive to threshold optimization which provided massive gains despite overfitting. | 17
CinC2020-356; ECG Segmentation... Basis for Detection; Sodmann et al. | Two-step: CNN + XGBoost | Custom UNet-like + XGBoost | Human-interpretable outputs; Wave segmentation (P, QRS, T) used to calculate clinical features (PQ time, R-amplitude). | Ranger Optimizer; 200 epochs; Cosine annealing; Tversky loss (segmentation) & Categorical cross-entropy. | 573 training samples; Preprocessing: 500 Hz resampling, Bandpass (0.05-42 Hz), Wavelet (Db4). | Challenge Metric: 0.136 (Rank 28th); R-Peak $F_{1}$ : 0.943; AF $F_{1}$ : 0.87. | Accepts any signal length; Time dimension reduced to 1/16th; 50% Dropout. | Tversky loss found superior to Dice/Focal/Cross-entropy for proper segmentation boundaries. | Python; FastAPI; PyTorch. | Labels provided for 6 classes while model trained on 24; Discrepancy created false positives. | Utilizes clinical interpretability via wave component segmentation, though underperformed end-to-end DL. | 18
CinC2020-462; Hybrid Scattering-LSTM Networks; Warrick et al. | Hybrid DSP & Deep Learning | Scattering-DSC-BiLSTM | Pure Python Scattering Transform; Integration of wavelet filters (ST) with learnable DSC and BiLSTM for stability. | Adam; BCE loss; 10-fold CV; Threshold: 0.5; Composite training on CPSC/PTB-XL. | 32,167 recordings (75% of total); 90/10 split; Padding; Truncation at 30s. | Mean 10-fold CV Score: 0.536 $\pm$ 0.012; Validation: 0.540 $\pm$ 0.016. | 18h training/fold; ST discretized at 8Hz Nyquist rate; 2x 12GB GPUs. | Failed to converge on Georgia dataset without proper scaling; $asinh$ nonlinearity improved Gaussianity for classification. | Keras/TensorFlow; Kymatio; 2x 12GB GPUs. | Failed to converge on specific datasets; failed to submit Docker container for hidden test; 30s truncation. | Strong theoretical stability against time warps via Scattering Transform, but failed hidden test due to deployment. | 19
Classification... 1D-CNN with Class Dependent Threshold; Pardasani et al. | Deep Learning (CNN) | Custom 1D-CNN (24 parallel branches) | Class-dependent thresholds optimized via ROC curves; 24 identical parallel branches handle multi-label without separate training. | Adam ( $10^{-4}$ ); Cross-entropy; $L_{1}$ / $L_{2}$ regularization ( $10^{-7}$ ); Dropout (0.3); 100 epochs. | 37,619 samples; 10,000 sample trim/pad (20s at 500Hz); Conversion to physical units ( $mV$ ). | Validation: 0.342; Full Test Score: 0.077; AUROC: 0.599. | Training: ~210s/epoch; 3.8M parameters; Single run sufficient for multi-label. | Claimed focusing only on 27 scored diagnoses simplified model complexity while maintaining performance. | Linux; Intel Xeon; TITAN RTX; Keras/TensorFlow. | Low test score (0.077) due to time constraints for tuning; Ranked 32nd. | Simple, parallelizable architecture with individual threshold optimization for real-time classification. | 20
CinC2020-135; Diagnostic of Multiple Cardiac Disorders... GCN; Jiang et al. | Hybrid CNN-GRU-GCN | 16-block ResNet + Bi-GRU | Label dependency modeling via Graph Convolutional Network (GCN) with a conditional probability correlation matrix. | Adam SGD; 100 epochs; $LR=0.001$ ; Batch size 32; Dropout 0.2; Weight random initialization. | 43,135 recordings; 500 Hz resampling; Zero-padding to 18s; 5-fold CV. | Challenge Metric: 0.627 (CV), 0.395 (Val), -0.012 (Test). | 1 prediction every 512 samples; Sampling rate 500 Hz. | GCN + class-aware loss improved metric from 0.582 to 0.627; Res-Blocks improved score by 0.051 over baseline. | Not in source. | Significant drop from Validation (0.395) to Test (-0.012); Ranked 34th. | Innovatively uses GCN to model inter-class label dependencies instead of treating them as mutually exclusive. | 21
CinC2020-339; Detection... Using Deep Convolutional Neural Networks; Sallem et al. | Deep 1D CNN | VGG-ECG (13-layer fully CNN) | 1x3 receptive fields for temporal scanning; Class weights for imbalance; Custom threshold selection (0.2). | ADAM ( $10^{-3}$ ); BCE loss; Dropout 0.3; Early Stopping; 21 training steps. | 37,794 scored signals; 3/4 training split; 3000 sample truncation; 100 Hz downsampling. | Validation Score: 0.368; Full Test: -0.128; Validation Accuracy: 0.54. | Training: 2.5h; 100 Hz downsampling used to standardize frequency. | 100 Hz downsampling outperformed 50/150 Hz ( $S=0.47$ ); Zero padding outperformed repetition ( $S=0.77$ vs 0.74). | Python 3.7; TensorFlow 2.3; Tesla T4 GPU. | Poor sensitivity for minority classes; Negative score on hidden test set; Ranking 38th. | Lightweight VGG-inspired design with optimized downsampling, but suffered from poor generalization. | 22
CinC2020-148; Multi-Stream DNN For ECG Classification; Baumgartner et al. | Hybrid: MLP + CNN | Custom Multi-stream (CNN + Bi-GRU + MLP) | Multi-stream concatenation of manually extracted features (MLP stream) with raw signals (CNN stream). | Adam; BCE loss; 200-500 epochs; Ensemble majority voting for unknown sources; Leaky ReLU. | 43,101 samples; Rare labels (<1%) removed; Butterworth bandpass (0.1-30 Hz). | Test Score: -0.290; Validation: 0.403; Offline weighted average: 0.612. | MLP stream estimated at 11.8% of combined effort. | Combined model (0.612) outperformed features-only (0.608) and signals-only (0.571). | Not in source. | MLP stream dominated the network, preventing CNN from learning; technical difficulties during submission led to rank 39th. | Demonstrates that adding low-compute classical features improves DNN robustness in most ECG datasets. | 23
Prediction of Apnoea... Using a Neural Network Classifier; de Chazal et al. | Neural Network (FFNN) | Bank of 10 FFNNs (Single hidden layer, 20 units) | Three-class arousal detection (apnoea, non-apnoea, no-arousal); 15s window with 59 time/frequency features. | 10-fold CV; Cross-entropy; Outputs averaged across 10-classifier bank; First-order hold filter for upsampling. | PhysioNet 2018 (994 PSG recordings); Features include $SpO_{2}$ hypoxic burden and relative band energy. | Two-class: AUROC 0.91, AUPRC 0.74; Three-class: VUROS 0.75. | Annotation output at 200 Hz; 15-second epoch processing; 59 total features. | FFNN outperformed LDA (VUROS 0.75 vs 0.68); 15s epoch and 4-epoch look-ahead/back was optimal. | Not in source. | Non-apnoea arousals harder to detect (69% sens) due to heterogeneity; High feature correlation (531 total). | Differentiates between apnoea and non-apnoea triggers using standard hand-crafted PSG features. | 24
CinC2020-285; Multi-Label Classification... Class-Wise Attention; Liu et al. | Deep Learning (CNN) | Custom 1D-CNN (9 residual blocks) | Class-wise attention using one-hot class encodings as queries ( $Q$ ) to harmonize class divergence. | Keras; 5-fold CV; Weighted focal loss with tunable balancing ( $b=0.5$ ); Signal sampling. | 43,101 recordings; 111 types (24 scored); Wavelet denoising ('db4') and moving average. | Challenge Metric: 0.5501; AUROC: 0.9486; AUPRC: 0.5615; $F_{2}$ : 0.5765. | NVIDIA Quadro k6000; 64 GB RAM; 3.5 GHz CPU. | Authors explicitly demonstrate class-wise attention avoids conflicts by learning specific attention per class. | NVIDIA Quadro k6000; Keras; Python. | Data imbalance significantly impacted scores; Results only on training set; Unable to score on hidden test. | Sophisticated class-wise attention and custom loss reweighting specifically target multi-label imbalances. | 25
CinC2020-185; Interpretable XGBoost... Information Theory; Rajpal et al. | XGBoost (Ensemble) | XGBoost (Decision Trees) | IT measures from neuroscience (Lempel-Ziv Complexity, O-Information, S-Information) for lead interdependencies. | Random undersampling; Grid Search; CV optimizing $F_{2}$ ; Early stopping; AUPRC loss; Threshold tuning. | 4 countries; 2nd order Butterworth (1.5-25 Hz); db4 wavelet; Metadata integration. | Challenge Score: 0.155 (Test), 0.533 (Val); With IT vs Without: AUPRC 0.55 vs 0.512. | Not in source. | 'With IT' vs 'Without IT' showed consistent gains in AUPRC (+0.038), Accuracy (+0.019), and $F_{2}$ (+0.025). | Python; XGBoost. | Significant score reduction (0.533 to 0.155) indicated overfitting; IT measures irrelevant for some conditions. | High interpretability; Ranked 2nd for Sinus Rhythm detection due to IT-driven redundancy analysis. | 26
CinC2020-456; Parallel CNNs and Time-Frequency Representation; Torres et al. | Deep Learning (CNN) | Modified VGG-16 (Dual-stream) | Dual input processing: raw signal time-series plots and Wavelet Synchrosqueezing (WS) time-frequency images. | 10-fold CV; 50 epochs; Adam; LR: 0.001; Batch size 512; Sigmoid output layer. | 37,134 records; 4.4M ECG beat images generated; 1.2s segments; 64x64 grayscale; db4 denoising. | $F_{1}$ -score: 0.825; Unofficial S-score: 0.766; Specificity: 91.57%. | Input: 64x64x1; Longer training time than ResNet-50. | Dual-stream ( $F_{1} \sim 0.825$ ) outperformed single-stream variants (TFR-only: 0.76; Raw-only: 0.66). | Miztli-UNAM Supercomputer; PyTorch (inferred). | Morphology similarity causes interference; difficulty differentiating classes with similar visual features. | Unique dual-representation parallel CNN architecture robust for unbalanced classes. | 27
CinC2020-305; Deep Learning Solution... Scalograms; Huerta et al. | Deep Learning (2D-CNN) | Custom 8-layer CNN | Beat-to-beat segmentation; Sequential concatenation of 12 leads into one signal per beat; Transformation to 2D scalograms (CWT). | 20 epochs; SGD; Momentum: 0.9; LR: 0.001; Mini-batch: 100; Softmax; ReLU. | 130,627 beats; 9 output classes (AF, 1AVB, LBBB, NSR, PAC, PVC, RBBB, STD, STE). | Training: $F_{\beta}$ 0.933, $G_{\beta}$ 0.811; Validation: $F_{\beta}$ 0.654, $G_{\beta}$ 0.372. | Image size: 200x1000x3 pixels; Avg class probabilities >10% for secondary diagnoses. | Averaging class probabilities for all beats in a signal provided final diagnosis. | Not in source. | Excessive reliance on R-peak detection; Limited training (9 classes); Performance drop on hidden sets. | Unique beat-to-beat 2D representation; struggled with secondary abnormalities due to training scale. | 28
CinC2020-374; ...Residual Neural Networks and Transfer Learning; Ansari et al. | Deep Learning / Transfer Learning | Custom ResNet; Ensemble of 5 variants | Pre-training on massive MUSE dataset; Automated label mapping via UMLS and SCT graph traversal. | Adam; BCE loss; Batch size 128; Early stopping; LR decay; Full retraining of weights. | Pre-training: 1.2M+ MUSE records; Fine-tuning: 43,101 records; 250 Hz resampling; Butterworth filtering. | Challenge Val: 0.616; Official Test: 0.141; MUSE Val AUROC: 0.83 to 0.99. | Not in source. | Full weight retraining outperformed freezing layers; Demographic features and XGBoost did not improve performance. | TensorFlow 2.3.0; Keras. | Low performance on underrepresented classes (Brady, LPR); Significant drop from validation to test. | Leveraged exceptionally large private dataset and ontological mapping to overcome small competition samples. | 29
CinC2020-139; Multi-label Classification... EASTNet; Ran et al. | Deep Learning (CNN) | EASTNet (Modified 1D-ResNet34) | 1D Squeeze-and-Excitation (SE) blocks; Random beat sampling for augmentation; 15x15 initial convolution for receptive field. | 5-fold CV; 3-45 Hz FIR filter; R-peak detection; Dropout; Replacement of max-pooling with conv layers. | 6,720 valid records; 201,600 beats; Selective discarding for balance; 4 intercepted beats per input. | Challenge Score: 0.703 (5-fold CV); LSTM baseline: 0.5937; SVM baseline: 0.5611. | Trade-off between score and complexity regarding number of beats. | 1D-ResNet34 (0.6760) vs. ResNet+SE (0.6856) vs. ResNet+MLP (0.6875) vs. full EASTNet (0.7030). | PyTorch (inferred); FIR filter. | Unable to score in hidden validation; Difficulty balancing noise as heartbeat count increases beyond 5. | Effectively leverages channel-wise attention and novel random sampling to solve data imbalance. | 30
CinC2020-307; Classification... DTFT and Attention; Hammoud et al. | Hybrid Sequence Model | Bidirectional LSTM with Attention | Intra-heartbeat Discrete-time Fourier Transform (DTFT); Heuristic best lead selection via gradient ratios. | Hyperopt Bayesian optimization; BCE loss; $L_{1}$ / $L_{2}$ regularization; 512-dim embeddings; 256-dim hidden. | 43,101 ECGs; 10s windows; Max 10 heartbeats; Static features (Age, Sex, HR) + Time-varying spectral. | Validation Score: 0.416; Full Test: 0.024; Database 1: 0.513. | Not in source. | Peak detection pipeline accuracy >99% verified on 50 random signals; Heuristic lead selection quality measure. | Hyperopt (Python); Not in source. | Failure to generalize across databases (Val 0.416 vs Test 0.024); Outcome-agnostic approach. | Specialized frequency-domain heartbeat representation combined with bidirectional temporal modeling. | 31
On the Application of CNNs... Multiple Centers; Borra et al. | Deep Learning (CNN) | InceptionTime; ResNet; XResNetld | Decoding workflow using SOTA time series CNNs; Concat-pooling (Global Avg + Max); Lead-zeroing augmentation. | Adam; LR: $10^{-3}$ ; Batch size 32; Cross-entropy loss; 100 epochs; 5-fold stratified CV. | Multicenter merge (42,511 total); 2.5s chunks; Online random lead zeroing ( $p=0.5$ ). | Metric: 0.5183 (InceptionTime), 0.5180 (XResNet 50); AUROC: 0.9400 (ResNet). | InceptionTime: 510k params; XResNet 101: 3.6M params; GPU-accelerated inference. | InceptionTime identified as best compromise between performance (0.5183) and complexity (510k params). | NVIDIA Titan V; PyTorch; Python. | Limited interpretability; Poor representation of rare conditions (e.g., PVC); Unable to obtain official test scores. | Parsimonious model (InceptionTime) balancing accuracy and low parameter count to prevent overfitting. | 32
CinC2020-144; ...Non-Linear Features and CNNs; Cajas et al. | Deep Learning (CNN) | Custom 1D-CNN | Savitzky-Golay smoothing combined with 27 hand-crafted linear/non-linear features (Shannon entropy, etc.) selected via PCA. | 10-fold CV; Keras normalization; 9 categories; Compared against RNN/LSTM. | 6,877 recordings; Symlet wavelet decomposition and baseline detrending. | Challenge Score: 0.22 (Avg over K-fold); Accuracy/Precision/F-measure. | Not in source. | Savitzky-Golay and baseline detrending confirmed as best cleaning method; CNN prioritized over RNN/LSTM. | Keras; Sklearn; Python. | Overlapping noise in 1-4 Hz band; Motion artifacts; Lack of compute for windowing segmentation. | Strong emphasis on noise-aware signal reduction using Savitzky-Golay filters to maintain morphology. | 33
CinC2020-297; A Topology Informed RF Classifier; Ignacio et al. | TDA + Random Forest | Two-level Random Forest | Conversion of ECG to point cloud embeddings; Persistent homological signatures (barcodes, landscapes) as features. | Two-level RF: Level 1 (scored vs unscored); Level 2-1 (scored subset); Level 2-2 (unscored subset); Max depth 20. | 12-lead ECG; Three 1800-point windows; 7 lead groupings; 1238 features including TDA and RR intervals. | Validation Score: 0.304; Full Test Score: -0.113; Average 3-fold CV AUROC: 0.846. | Point cloud sampling (300 slices) used to reduce costs; RIPSER for barcode computation. | TDA Features outperformed Challenge RF baseline (0.304 vs 0.076); Captured true positive signal but high false negatives. | Python; RIPSER; Scikit-learn. | High computational cost of TDA; Low $F_{1}$ scores; Generalizability concerns on specific test databases. | Uses mathematical topology to replace expert features, significantly outperforming non-topological baselines. | 34
CinC2020-353; ...CAMs for Improved Explainability; Goodfellow et al. | Deep Learning / Hybrid | Modified WaveNet (non-causal) | Likelihood features for R-peak/P-wave/T-wave as input channels; Squared Sigmoid outputs to penalize false negatives. | 6-fold CV; Adam; ReduceLROnPlateau; Early stopping; BCE + MSE decoder loss; Threshold tuning. | 1000 Hz upsampling; 19s segments; Synthetic noise augmentation (Gaussian, baseline wander, pulses). | CV Mean: 0.630; CV Fold Max: 0.644; CV Fold Min: 0.614; Official Test: -0.406 (Submission Error). | Input: 19k samples; Batch size 128; Inference via majority vote of 6 models. | Superior performance using unfiltered data with synthetic noise over filtered data; Age/gender features declined performance. | Python; BioSPPy; iterative-stratification. | Submission error/time constraints prevented test score; Sensitive to mislabeled training data. | Utilizes explainable AI via Class Activation Maps and domain-specific wave likelihood features. | 35
CinC2020-162; Lightweight... Anti-aliased Blocks; Yu et al. | Deep Learning (CNN) | ResNet-18 (modified for 1D) | Anti-aliased blocks (BlurPool) for shift invariance; Integrated standard/dilated convolutions (rates 1 & 2); Dual activation. | Adam (0.0003); Gradient accumulation (64 records); Lovász-softmax and Weighted Cross Entropy switching ( $p=0.5$ ). | 4 pooled sources; 80 Hz downsampling; Undersampling (30% normal removed); Random erasing/shifting. | Challenge Metric Score: 0.328 (Offline validation). | Real-time feasible; Lightweight 80 Hz sampling; Multi-lead to single-lead feasibility. | Compared 60/80/100 Hz signals; cited anti-aliased design (BlurPool) and multi-scale convolutions as drivers. | Not in source. | High rate of False Negatives/Positives; Performance degrades with increased rhythm classes. | Extreme efficiency via 80Hz downsampling and anti-aliasing while maintaining multi-scale fields. | 36
CinC2020-202; Digital Biomarkers and Representation Learning; Assaraf et al. | Hybrid (FE + DL Ensemble) | RF (FE); ResNet-GRU (DL); LogReg (Ensemble) | Ensemble combining 113 morphological and 16 HRV digital biomarkers with a residual CNN-GRU multi-head architecture. | RF: 750 estimators; DL: Adam, BCEWithLogits + F-Beta loss; stratified 80/20 split; mRMR for feature selection. | 53,730 recordings; bSQI quality check; 500Hz resampling; Butterworth/Notch filtering. | Local Test Challenge Score: FE=0.65, DL=0.52, EL=0.66; CV: EL=0.66 $\pm$ 0.03. | Signals padded to 80s (40k samples); GRU takes 1250 features from CNN. | Feature engineering (FE) significantly outperformed DL (0.65 vs 0.52); Ensemble provided marginal 0.01 gain over FE. | Python; PyTorch; wavedet. | Low performance on classes with <500 examples; Technical difficulties prevented hidden test score. | Demonstrates that traditional physiological features can outperform deep learning in data-constrained scenarios. | 37
CinC2020-435; ECG Morphological Decomposition...; García-Isla et al. | Hybrid Ensemble / Template | SVM (Phase 1); Boosted Trees (Phase 2) | Rhythm-specific templates; 6 regions of interest (P, QRS, PQ-ST, T, PR, RT); Cross-correlation index distance features. | 10-fold CV; Bagged/Boosted Trees; R-peak detection via Pan Tompkins with Gaussian smoothing. | 6 databases; 43,101 labeled ECGs; Baseline correction via median filters; 35 Hz low-pass filter. | Phase 1 Accuracy: 94.4%; Phase 2 Challenge Metric: 0.030; Phase 2 Accuracy: 15.0%. | 6s to 60s recordings; Matlab 2020a. | AF and STach captured well by individual classifiers, proving regional feature relevance; Phase 2 drop proved template limits. | Matlab 2020a; HRV toolbox; ECGkit. | Failed to distinguish rhythms with similar expressions (IRBBB vs RBBB); performance degraded at scale (24 classes). | Strong physiological alignment using regional cardiac auditing; lacks DL scalability for multi-label tasks. | 38
CinC2020-424; Automatic Concurrent Arrhythmia Classification; Nankani et al. | Deep Learning (CNN) | Custom 8-layer ResNet | Eight-layer 1D ResNet specifically for ECG; Skip connections; Conversion of variable signals to 2500 sample segments. | Xavier initialization; Batch size 16; Early stopping (5 epochs); Dropout 0.5; Adam (inferred). | 6 databases; Homogenized to 2500 samples; 80/20 train-validation split; 27 labels (treated as single-label). | Val Challenge: 0.305; Full Test Challenge: -0.035; Val AUROC: 0.825. | Training: ~110s/epoch (vs 9070s for attention-based); 32GB RAM managed via generator. | Investigated 17 models; ResNet outperformed RNNs and Attention-models in both score and training time. | Intel Xeon; 32 GB RAM; Titan Xp; Keras. | Single-label prediction for multi-label problem; Predicted only 24 labels despite 27-label training. | Competitive balance between training efficiency (fastest epoch time) and accuracy using residual architecture. | 39
CinC2020-406; Classification... Ensemble ML Approach; Bodini et al. | Hybrid Ensemble (CNN+FFNN) | 3 CNNs (P, QRS, T) + 1 FFNN + PVC Detector | Morphology features with specialized neural networks for different ECG segments and rhythm intervals. | Adam; BCE loss; 1000 epochs; Batch size 64; 70/30 split; Dropout (0.1-0.4); ReLU activation. | 40,000+ calibration records; 500 Hz resampling; Filtered 0.67-30 Hz; Signal quality filtering. | Val Score: 0.241; Private Test: -0.179; QRS recall for RBBB: 0.93. | First 1-minute segment; PVC threshold: 1.44 mV. | QRS-CNN strongest performer; Rhythm-NN and P-CNN suffered due to low samples for Flutter/prolonged PR. | Not in source. | Low private test performance; Normal ECG detection via elimination led to high false positives. | Modular architecture isolating cardiac morphology from rhythm; struggled with generalization. | 40
2-D CNN for Arrhythmia Detection; He et al. | Deep Learning (CNN) | Custom 2-D CNN (12 blocks) | Variable 2-D filter shapes: Transition from 1D (sample-only) to 2D (cross-lead) to enable cross-lead fusion; SE-attention. | Adam ( $0.001$ ); Weighted BCE loss; 5-fold CV; 80/20 train-test split; Sigmoid output. | 43,101 subjects; 100 Hz downsampling; 0.05-20 Hz band-pass filter; fixed 10s segments. | CV Challenge: 0.621; Val: 0.616; Full Test: 0.370; Hidden CPSC Set: 0.758. | 100 Hz downsampling used to reduce memory and speed training. | Spatial Dropout+GAP+SE Attention achieved 0.621; removing Attention dropped score to 0.569. | Keras with TensorFlow backend. | Fixed 10s input length ignores intermittent rhythms; drastic drop on Hidden Undisclosed Set (0.194). | Innovative 2D kernels for spatial-temporal features combined with channel-wise attention to prevent overfitting. | 41

## Source References
Index | Reference
1 | 2020ChallengePaper.pdf
2 | CinC2020-236.pdf
3 | CinC2020-189.pdf
4 | CinC2020-281.pdf
5 | CinC2020-445.pdf
6 | CinC2020-328.pdf
7 | CinC2020-253.pdf
8 | CinC2020-161.pdf
9 | CinC2020-171.pdf
10 | CinC2020-417.pdf
11 | CinC2020-229.pdf
12 | CinC2020-134.pdf
13 | CinC2020-225.pdf
14 | CinC2020-282.pdf
15 | CinC2020-363.pdf
16 | CinC2020-138.pdf
17 | CinC2020-198.pdf
18 | CinC2020-356.pdf
19 | CinC2020-462.pdf
20 | CinC2020-277.pdf
21 | CinC2020-135.pdf
22 | CinC2020-339.pdf
23 | CinC2020-148.pdf
24 | CinC2020-340.pdf
25 | CinC2020-285.pdf
26 | CinC2020-185.pdf
27 | CinC2020-456.pdf
28 | CinC2020-305.pdf
29 | CinC2020-374.pdf
30 | CinC2020-139.pdf
31 | CinC2020-307.pdf
32 | CinC2020-349.pdf
33 | CinC2020-144.pdf
34 | CinC2020-297.pdf
35 | CinC2020-353.pdf
36 | CinC2020-162.pdf
37 | CinC2020-202.pdf
38 | CinC2020-435.pdf
39 | CinC2020-424.pdf
40 | CinC2020-406.pdf
41 | CinC2020-196.pdf

## Calc_Data
Paper ID / Title / Authors | Core Paradigm | Base Model / Backbone | Data Strategy & Volume | Hardware & Framework Stack | Core Limitation / Failure Mode | Primary Benchmark Metrics | Performance Score
Classification of 12-lead ECGs: the PhysioNet/CiC 2020; Perez Alday et al. | Meta-analysis / Hybrid ML | Various (CNNs dominant; RF/MLR baselines) | 66,361 recordings (43,101 public); 111 classes (27 scored); Multi-institutional (6 systems). | Google Cloud; NVIDIA T4; PyTorch; TensorFlow; MATLAB. | Sensitivity to sampling frequency; Performance drop (10%+) on hidden data; Class imbalance. | Max Score: 1.0; Inactive Score: 0.0; Top participant $S_{normalized}$ : 0.533. | 0.533
CinC2020-189; ECG Abnormalities Recognition...; Vicar et al. | Deep Learning (CNN) | Modified 1D-ResNet (6 blocks) | 43,101 recordings; 125 Hz resampling; $\pm 10\%$ temporal stretch & $\pm 20\%$ voltage amplification ( $p=0.8$ ). | Python; Bayesian Optimization library; Not in source. | Poor generalization to different data sources; High performance drop on low-frequency classes (PVC, PAC, Brady). | Validation CM: 0.696; Full Test CM: 0.202; Dice Coefficient: 0.571. | 0.202
CinC2020-281; Classification of Cardiac Abnormalities...; Zhu et al. | Hybrid DL and Rule-based | SE-ResNet (Squeeze-and-Excitation) | 43,101 signals; CPSC relabeling; Hefei external validation set (6,500 records). | PyTorch; NVIDIA V100 GPU; 117 GB RAM; 4-core CPU. | Rule-based module had low precision due to sub-optimal labels; U-Net segmentation failed to improve scores. | Validation: 0.682; Full Test: 0.514; Offline 20% test: 0.683. | 0.514
CinC2020-445; Adversarial Multi-Source Domain Generalization; Hasani et al. | Hybrid CNN-LSTM | Parallel CNN (Fine/Coarse Kernels) + Bi-LSTM | 43,101 signals (27 scored classes); 250 Hz resampling; Lead dropout/shuffling/inversion augmentations. | PyTorch; Cloud-training. | Resource limits prevented use of records with unscored labels; 17% validation-to-test performance gap. | Validation: 0.609; Full Test: 0.437; 5-fold CV: 0.629 $\pm$ 0.003; AUROC: 0.64. | 0.437
CinC2020-328; Bag of Tricks for ECG Classification...; Min et al. | Deep Learning (CNN) | Wide ResNet (WRN-18-2) | 37,619 recordings; 10-fold CV iterative stratification; 50/60Hz notch filters; 500 Hz resampling. | PyTorch; NVIDIA V100 GPU; HPC Support (NIPA). | Significant performance variance across databases (DB1: 0.688 vs DB3: 0.228). | Challenge Score: 0.695 (CV), 0.420 (Full Test); $F_{2}$ : 0.696; $G_{2}$ : 0.448. | 0.42
CinC2020-253; Pre-trained Exponentially Dilated Causal CNN; Bos et al. | Causal CNN | Custom 1D Dilated Causal CNN (7 blocks) | Pre-trained on 254,044 physician-annotated ECGs (UMCU); Fine-tuned on 42,511 Challenge ECGs. | PyTorch (1.3); NVIDIA Titan Xp; Python (3.7). | Poor performance on rare classes (T-wave inversion, PVC); utilized only first 10 seconds of data. | Challenge Score: 0.417 (Test), 0.565 (CV); AUROC: 0.915 (Test), 0.939 (CV). | 0.417
CinC2020-161; Impact of Neural Architecture Design...; Fayyazifar et al. | Hybrid CNN-RNN / NAS | Custom 49-layer RCNN (CNN + Bi-LSTM); DARTS | 37,619 samples; 10s truncation; Db1 Wavelet decomposition (approximation coefficients) for specific variants. | PyTorch; NVIDIA 1080 Ti / RTX 8000. | NAS model failed to receive official scores due to submission issues; High training time for NAS (20 hours). | RCNN: 62.3% (Val), 38.2% (Full Test); NAS: 64.4% (CV - no test score). | 0.382
CinC2020-171; Cardiac Pathologies Detection and Classification...; Smisek et al. | Rule-based and Decision Trees | Feature-extraction Ensemble | 6 sub-databases; Excluding 4 pathologies with vague definitions (Brady, LQT, QAb, TInv). | Not in source. | Vague definitions of AFL/NSIVCB led to poor-quality features; Inconsistent bpm thresholds across databases. | Challenge Score: 0.435 (Val), 0.354 (Full Test); AF $F_{1}$ : 0.83; LBBB $F_{1}$ : 0.697. | 0.354
CinC2020-417; CRNN and LightGBM Ensemble...; Zisou et al. | Ensemble (DL + GBDT) | Hybrid: 1D-CRNN and LightGBM | 24 target classes; 3rd order Butterworth/Notch filtering; 500 Hz resampling; 5-fold iterative stratification. | LightGBM; PyTorch/TensorFlow (implied); Python. | CRNN cannot easily benefit from domain adjustments; Lacks segmentation for locating regions in long recordings. | 5-fold CV: 0.593; Hidden Test: 0.281; Ensemble AUROC: 0.946 (vs CRNN 0.908, LGBM 0.935). | 0.281
Cardiac Abnormality Detection... Data Augmentation; Weber et al. | Deep Learning (CNN) | Custom ResNet-inspired | 43,101 signals; Augmentations: Signal Slicing, CutOut (35%), Channel Shifting, Gaussian Noise ( $20 \mu V$ ), Dropout (50%). | PyTorch; Tesla K40 GPU (AWS). | High discrepancy between validation (0.656) and test (0.270) scores; BatchNorm issues with varying lengths. | Validation: 0.656; Full Test: 0.270; AUROC: 0.947; Challenge Metric: 0.611. | 0.27
Multi-label Arrhythmia Classification...; Hsu et al. | Machine Learning (Ensemble) | Boosting Classifier (Best); RF; AlexNet; LSTM | Georgia, CPSC, PTB-XL; 1-second representative heartbeat segmentation. | Not in source. | DL models (CNN/RNN) were prone to overfitting; Poor performance on PTB dataset ( $Score: -2.589$ ). | Official Score: 0.406; Full Test: 0.244; 5-fold CV: 0.402. | 0.244
CinC2020-225; A Bio-toolkit for Multi-Cardiac Abnormality...; Kirodiwal et al. | Deep Learning (CNN+LSTM) | Custom 1D-CNN (2 layers) + LSTM (2 layers) | 43,101 recordings; Lead II template extraction (400 samples/cycle); 64/16/20 split. | Keras; Python. | Poor performance on biased data; Validation and test AUROC remained near chance levels ( $\sim 0.498$ ). | Validation: 0.337; Test Score: 0.258; Macro AUROC: 0.498. | 0.258
CinC2020-282; MADNN: A Multi-scale Attention Deep Neural Network; Duan et al. | Deep Learning (CNN) | ResNeXt (1D-modified) stem + 4 Multi-scale modules | 43,134 samples; 500 Hz resampling; 60s padding/truncation; Augmentation: random cropping. | Not in source. | High model complexity for ensemble; high-frequency feature suppression if using standard image kernels. | Validation: 0.446; Full Test: 0.236 (Ranked 18th). | 0.236
CinC2020-363; Gradient Boosting on Domain-Specific/Agnostic Features; Uguz et al. | Machine Learning (GBDT) | XGBoost | 12-lead ECG; Kors transformation to XYZ leads; Dataset segmentation; 10-fold CV and leave-one-dataset-out. | Python; XGBoost; BioSPPy; NeuroKit2. | Limited generalization (negative score on PTB); Independent binary decisions ignore inter-diagnosis dependencies. | Validation: 0.576; Full Test: 0.233; AUROC: 0.822; $F_{measure}$ : 0.298. | 0.233
CinC2020-138; Automated Classification... Wavelet Analysis; Demonbreun et al. | Deep Learning / Image-based | Modified SqueezeNet (18 layers) | Reduced to 76 codes; 10 signals per arrhythmia (balanced strategy); Scalogram conversion. | MATLAB R2020a; Deep Learning Toolbox. | Limited training volume (10 signals per class) due to compute power; Low clinical viability at current accuracy. | Validation: 0.214; Full Test: 0.205; Training Accuracy: 83-98%. | 0.205
CinC2020-198; ECG Classification With a CRNN; Sigurthorsdottir et al. | Deep Learning (CRNN) | 15-layer CNN + Bi-GRU | 80/20 split; 257 Hz resampling; High-pass filter (0.5 Hz); Random offset augmentation. | TensorFlow 2.2.0. | Hardware limited model depth; Significant performance drop (0.511 to 0.167); Class imbalance remained unresolved. | Validation Score: 0.511; Full Test: 0.167; Local Validation (optimized): 0.573. | 0.167
CinC2020-356; ECG Segmentation... Basis for Detection; Sodmann et al. | Two-step: CNN + XGBoost | Custom UNet-like + XGBoost | 573 training samples; Preprocessing: 500 Hz resampling, Bandpass (0.05-42 Hz), Wavelet (Db4). | Python; FastAPI; PyTorch. | Labels provided for 6 classes while model trained on 24; Discrepancy created false positives. | Challenge Metric: 0.136 (Rank 28th); R-Peak $F_{1}$ : 0.943; AF $F_{1}$ : 0.87. | 0.136
CinC2020-462; Hybrid Scattering-LSTM Networks; Warrick et al. | Hybrid DSP & Deep Learning | Scattering-DSC-BiLSTM | 32,167 recordings (75% of total); 90/10 split; Padding; Truncation at 30s. | Keras/TensorFlow; Kymatio; 2x 12GB GPUs. | Failed to converge on specific datasets; failed to submit Docker container for hidden test; 30s truncation. | Mean 10-fold CV Score: 0.536 $\pm$ 0.012; Validation: 0.540 $\pm$ 0.016. | 0.536
Classification... 1D-CNN with Class Dependent Threshold; Pardasani et al. | Deep Learning (CNN) | Custom 1D-CNN (24 parallel branches) | 37,619 samples; 10,000 sample trim/pad (20s at 500Hz); Conversion to physical units ( $mV$ ). | Linux; Intel Xeon; TITAN RTX; Keras/TensorFlow. | Low test score (0.077) due to time constraints for tuning; Ranked 32nd. | Validation: 0.342; Full Test Score: 0.077; AUROC: 0.599. | 0.077
CinC2020-135; Diagnostic of Multiple Cardiac Disorders... GCN; Jiang et al. | Hybrid CNN-GRU-GCN | 16-block ResNet + Bi-GRU | 43,135 recordings; 500 Hz resampling; Zero-padding to 18s; 5-fold CV. | Not in source. | Significant drop from Validation (0.395) to Test (-0.012); Ranked 34th. | Challenge Metric: 0.627 (CV), 0.395 (Val), -0.012 (Test). | -0.012
CinC2020-339; Detection... Using Deep Convolutional Neural Networks; Sallem et al. | Deep 1D CNN | VGG-ECG (13-layer fully CNN) | 37,794 scored signals; 3/4 training split; 3000 sample truncation; 100 Hz downsampling. | Python 3.7; TensorFlow 2.3; Tesla T4 GPU. | Poor sensitivity for minority classes; Negative score on hidden test set; Ranking 38th. | Validation Score: 0.368; Full Test: -0.128; Validation Accuracy: 0.54. | -0.128
CinC2020-148; Multi-Stream DNN For ECG Classification; Baumgartner et al. | Hybrid: MLP + CNN | Custom Multi-stream (CNN + Bi-GRU + MLP) | 43,101 samples; Rare labels (<1%) removed; Butterworth bandpass (0.1-30 Hz). | Not in source. | MLP stream dominated the network, preventing CNN from learning; technical difficulties during submission led to rank 39th. | Test Score: -0.290; Validation: 0.403; Offline weighted average: 0.612. | -0.29
Prediction of Apnoea... Using a Neural Network Classifier; de Chazal et al. | Neural Network (FFNN) | Bank of 10 FFNNs (Single hidden layer, 20 units) | PhysioNet 2018 (994 PSG recordings); Features include $SpO_{2}$ hypoxic burden and relative band energy. | Not in source. | Non-apnoea arousals harder to detect (69% sens) due to heterogeneity; High feature correlation (531 total). | Two-class: AUROC 0.91, AUPRC 0.74; Three-class: VUROS 0.75. | 0.75
CinC2020-285; Multi-Label Classification... Class-Wise Attention; Liu et al. | Deep Learning (CNN) | Custom 1D-CNN (9 residual blocks) | 43,101 recordings; 111 types (24 scored); Wavelet denoising ('db4') and moving average. | NVIDIA Quadro k6000; Keras; Python. | Data imbalance significantly impacted scores; Results only on training set; Unable to score on hidden test. | Challenge Metric: 0.5501; AUROC: 0.9486; AUPRC: 0.5615; $F_{2}$ : 0.5765. | 0.55
CinC2020-185; Interpretable XGBoost... Information Theory; Rajpal et al. | XGBoost (Ensemble) | XGBoost (Decision Trees) | 4 countries; 2nd order Butterworth (1.5-25 Hz); db4 wavelet; Metadata integration. | Python; XGBoost. | Significant score reduction (0.533 to 0.155) indicated overfitting; IT measures irrelevant for some conditions. | Challenge Score: 0.155 (Test), 0.533 (Val); With IT vs Without: AUPRC 0.55 vs 0.512. | 0.155
CinC2020-456; Parallel CNNs and Time-Frequency Representation; Torres et al. | Deep Learning (CNN) | Modified VGG-16 (Dual-stream) | 37,134 records; 4.4M ECG beat images generated; 1.2s segments; 64x64 grayscale; db4 denoising. | Miztli-UNAM Supercomputer; PyTorch (inferred). | Morphology similarity causes interference; difficulty differentiating classes with similar visual features. | $F_{1}$ -score: 0.825; Unofficial S-score: 0.766; Specificity: 91.57%. | 0.766
CinC2020-305; Deep Learning Solution... Scalograms; Huerta et al. | Deep Learning (2D-CNN) | Custom 8-layer CNN | 130,627 beats; 9 output classes (AF, 1AVB, LBBB, NSR, PAC, PVC, RBBB, STD, STE). | Not in source. | Excessive reliance on R-peak detection; Limited training (9 classes); Performance drop on hidden sets. | Training: $F_{\beta}$ 0.933, $G_{\beta}$ 0.811; Validation: $F_{\beta}$ 0.654, $G_{\beta}$ 0.372. | 0.654
CinC2020-374; ...Residual Neural Networks and Transfer Learning; Ansari et al. | Deep Learning / Transfer Learning | Custom ResNet; Ensemble of 5 variants | Pre-training: 1.2M+ MUSE records; Fine-tuning: 43,101 records; 250 Hz resampling; Butterworth filtering. | TensorFlow 2.3.0; Keras. | Low performance on underrepresented classes (Brady, LPR); Significant drop from validation to test. | Challenge Val: 0.616; Official Test: 0.141; MUSE Val AUROC: 0.83 to 0.99. | 0.141
CinC2020-139; Multi-label Classification... EASTNet; Ran et al. | Deep Learning (CNN) | EASTNet (Modified 1D-ResNet34) | 6,720 valid records; 201,600 beats; Selective discarding for balance; 4 intercepted beats per input. | PyTorch (inferred); FIR filter. | Unable to score in hidden validation; Difficulty balancing noise as heartbeat count increases beyond 5. | Challenge Score: 0.703 (5-fold CV); LSTM baseline: 0.5937; SVM baseline: 0.5611. | 0.703
CinC2020-307; Classification... DTFT and Attention; Hammoud et al. | Hybrid Sequence Model | Bidirectional LSTM with Attention | 43,101 ECGs; 10s windows; Max 10 heartbeats; Static features (Age, Sex, HR) + Time-varying spectral. | Hyperopt (Python); Not in source. | Failure to generalize across databases (Val 0.416 vs Test 0.024); Outcome-agnostic approach. | Validation Score: 0.416; Full Test: 0.024; Database 1: 0.513. | 0.024
On the Application of CNNs... Multiple Centers; Borra et al. | Deep Learning (CNN) | InceptionTime; ResNet; XResNetld | Multicenter merge (42,511 total); 2.5s chunks; Online random lead zeroing ( $p=0.5$ ). | NVIDIA Titan V; PyTorch; Python. | Limited interpretability; Poor representation of rare conditions (e.g., PVC); Unable to obtain official test scores. | Metric: 0.5183 (InceptionTime), 0.5180 (XResNet 50); AUROC: 0.9400 (ResNet). | 0.518
CinC2020-144; ...Non-Linear Features and CNNs; Cajas et al. | Deep Learning (CNN) | Custom 1D-CNN | 6,877 recordings; Symlet wavelet decomposition and baseline detrending. | Keras; Sklearn; Python. | Overlapping noise in 1-4 Hz band; Motion artifacts; Lack of compute for windowing segmentation. | Challenge Score: 0.22 (Avg over K-fold); Accuracy/Precision/F-measure. | 0.22
CinC2020-297; A Topology Informed RF Classifier; Ignacio et al. | TDA + Random Forest | Two-level Random Forest | 12-lead ECG; Three 1800-point windows; 7 lead groupings; 1238 features including TDA and RR intervals. | Python; RIPSER; Scikit-learn. | High computational cost of TDA; Low $F_{1}$ scores; Generalizability concerns on specific test databases. | Validation Score: 0.304; Full Test Score: -0.113; Average 3-fold CV AUROC: 0.846. | -0.113
CinC2020-353; ...CAMs for Improved Explainability; Goodfellow et al. | Deep Learning / Hybrid | Modified WaveNet (non-causal) | 1000 Hz upsampling; 19s segments; Synthetic noise augmentation (Gaussian, baseline wander, pulses). | Python; BioSPPy; iterative-stratification. | Submission error/time constraints prevented test score; Sensitive to mislabeled training data. | CV Mean: 0.630; CV Fold Max: 0.644; CV Fold Min: 0.614; Official Test: -0.406 (Submission Error). | -0.406
CinC2020-162; Lightweight... Anti-aliased Blocks; Yu et al. | Deep Learning (CNN) | ResNet-18 (modified for 1D) | 4 pooled sources; 80 Hz downsampling; Undersampling (30% normal removed); Random erasing/shifting. | Not in source. | High rate of False Negatives/Positives; Performance degrades with increased rhythm classes. | Challenge Metric Score: 0.328 (Offline validation). | 0.328
CinC2020-202; Digital Biomarkers and Representation Learning; Assaraf et al. | Hybrid (FE + DL Ensemble) | RF (FE); ResNet-GRU (DL); LogReg (Ensemble) | 53,730 recordings; bSQI quality check; 500Hz resampling; Butterworth/Notch filtering. | Python; PyTorch; wavedet. | Low performance on classes with <500 examples; Technical difficulties prevented hidden test score. | Local Test Challenge Score: FE=0.65, DL=0.52, EL=0.66; CV: EL=0.66 $\pm$ 0.03. | 0.66
CinC2020-435; ECG Morphological Decomposition...; García-Isla et al. | Hybrid Ensemble / Template | SVM (Phase 1); Boosted Trees (Phase 2) | 6 databases; 43,101 labeled ECGs; Baseline correction via median filters; 35 Hz low-pass filter. | Matlab 2020a; HRV toolbox; ECGkit. | Failed to distinguish rhythms with similar expressions (IRBBB vs RBBB); performance degraded at scale (24 classes). | Phase 1 Accuracy: 94.4%; Phase 2 Challenge Metric: 0.030; Phase 2 Accuracy: 15.0%. | 0.03
CinC2020-424; Automatic Concurrent Arrhythmia Classification; Nankani et al. | Deep Learning (CNN) | Custom 8-layer ResNet | 6 databases; Homogenized to 2500 samples; 80/20 train-validation split; 27 labels (treated as single-label). | Intel Xeon; 32 GB RAM; Titan Xp; Keras. | Single-label prediction for multi-label problem; Predicted only 24 labels despite 27-label training. | Val Challenge: 0.305; Full Test Challenge: -0.035; Val AUROC: 0.825. | -0.035
CinC2020-406; Classification... Ensemble ML Approach; Bodini et al. | Hybrid Ensemble (CNN+FFNN) | 3 CNNs (P, QRS, T) + 1 FFNN + PVC Detector | 40,000+ calibration records; 500 Hz resampling; Filtered 0.67-30 Hz; Signal quality filtering. | Not in source. | Low private test performance; Normal ECG detection via elimination led to high false positives. | Val Score: 0.241; Private Test: -0.179; QRS recall for RBBB: 0.93. | -0.179
2-D CNN for Arrhythmia Detection; He et al. | Deep Learning (CNN) | Custom 2-D CNN (12 blocks) | 43,101 subjects; 100 Hz downsampling; 0.05-20 Hz band-pass filter; fixed 10s segments. | Keras with TensorFlow backend. | Fixed 10s input length ignores intermittent rhythms; drastic drop on Hidden Undisclosed Set (0.194). | CV Challenge: 0.621; Val: 0.616; Full Test: 0.370; Hidden CPSC Set: 0.758. | 0.37

## Dashboard
PhysioNet/CinC 2020 Competition Analysis Dashboard
Trend Summaries: - The majority of top-performing models utilized Deep Learning (CNNs and ResNet variants). - Data augmentation and domain-specific feature engineering (e.g., Lempel-Ziv complexity) were key differentiators. - A common failure mode across multiple submissions was poor generalization to hidden datasets and severe performance drops on underrepresented classes (e.g., PVC, PAC).
Data Strategies (Top 5) |  | Common Failure Modes (Top 5)
1000 Hz upsampling; 19s segments; Synthetic noise augmentation (Gaussian, baseline wander, pulses). | 1 | CRNN cannot easily benefit from domain adjustments; Lacks segmentation for locating regions in long recordings. | 1
12-lead ECG; Kors transformation to XYZ leads; Dataset segmentation; 10-fold CV and leave-one-dataset-out. | 1 | Data imbalance significantly impacted scores; Results only on training set; Unable to score on hidden test. | 1
12-lead ECG; Three 1800-point windows; 7 lead groupings; 1238 features including TDA and RR intervals. | 1 | DL models (CNN/RNN) were prone to overfitting; Poor performance on PTB dataset ( $Score: -2.589$ ). | 1
130,627 beats; 9 output classes (AF, 1AVB, LBBB, NSR, PAC, PVC, RBBB, STD, STE). | 1 | Excessive reliance on R-peak detection; Limited training (9 classes); Performance drop on hidden sets. | 1
24 target classes; 3rd order Butterworth/Notch filtering; 500 Hz resampling; 5-fold iterative stratification. | 1 | Failed to converge on specific datasets; failed to submit Docker container for hidden test; 30s truncation. | 1